## Document Control
OSX Insertion Loss Test Software Requirements
Document Information
Document purpose | Define production requirements for an application that controls the ILM-100 and OSX-100/OSX-150 to measure, evaluate, retest, and report insertion loss at 1310 nm and 1550 nm.
Scope | Production insertion-loss verification for arbitrary channel-count OSX-100 and OSX-150 units, including the OSX-150 spare-channel optimization workflow.
Document owner | Jesse Orosco
Prepared for | Santec California engineering, production, software, and quality stakeholders
Version | 0.1 Draft
Date | 2026-09-30
Status | Draft for cross-functional review
Recommended format | This workbook is both the requirements specification and the review/traceability register.
Business Objective
Convert the existing engineer-developed test script into a controlled production application that reduces manual data entry, enforces product-specific acceptance logic, supports flexible channel counts, preserves retest history, and generates a consistent Excel test report.
Source Context Used for This Draft
Source | Relevance
TR-OSX-100_OSX-100 Test Report Template.xlsx | Existing report structure includes part number, serial number, date, tester, product specifications, and 1310/1550 nm IL columns.
OSX-150 Single Mode COC Template.xls / COC OSX-150 examples | Existing OSX-150 certificates use product-specific limits and per-channel 1310/1550 nm measurements.
Teams discussion, “The crew,” 28 Sep 2026 | Minimum needs: control ILM and both switch families, arbitrary channel count, selective retest, and report creation.
OSX-150 routing discussions, Aug–Sep 2026 | OSX-150 production selects lower-loss physical channels, assigns spares to routed channels, and retains spare channels for optimization.
ILM-100 communication email, 14 Nov 2025 | ILM-100 uses legacy OP815-generation commands rather than OPM-200 SCPI commands.

## Requirements
Software Requirements Register
Req ID | Category | Requirement | Rationale / Business Rule | Priority | Release | Acceptance / Verification Method | Source / Basis | Owner | Status | Notes / Open Point | Trace ID
FUN-001 | Functional | The application shall require the user to select the unit family as OSX-100 or OSX-150 before starting a test. | Acceptance criteria and workflow differ by product family. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-01
FUN-002 | Functional | The application shall allow the operator to test channels sequentially | Primary production workflow. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-02
FUN-003 | Functional | The application shall allow the operator to select and retest one or more channels at any time before report finalization. | Supports recovery from connector contamination, setup disturbance, or anomalous readings. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-03
FUN-004 | Functional | The application shall preserve the full measurement history for each retest and clearly identify the active/final result. | Prevents loss of traceability when values are overwritten. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-03
FUN-005 | Functional | The application shall allow for the user to specify measurement wavelengths to test. | Required production test wavelengths. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft | If the software is to test OSX-100's as well then it will need to be able to handle a MM ILM and test at 850/1300nm | UC-02
FUN-006 | Functional | The application shall calculate an overall channel disposition using the applicable limits at both wavelengths. | A channel passes only when all required wavelength criteria pass. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-02
FUN-007 | Functional | The application shall support abort, pause, resume, and safe restart of a test sequence. | Production runs may be interrupted without losing valid prior data. | Should | R1 | Demonstration / test | User request | Software / Test Eng. | Draft | User should be able to start at an arbitrary channel | UC-02
FUN-008 | Functional | The application shall prevent final report generation while required channels are untested, unless an authorized override reason is entered. | Avoids incomplete production records. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-05
FUN-009 | Interface | The application shall discover and connect to an ILM-100 using the approved communication interface and legacy OP815-generation command set. | Internal evidence indicates ILM-100 does not use the OPM-200 SCPI command set. | Must | MVP | Demonstration / test | Email: RE: EXTERNAL: Santec - AWE Inquiry | Software / Test Eng. | Draft | Unit should be put into remote mode and stay in remote mode once the connection is established. | UC-01
FUN-009 | Interface | The application shall give the user the ability to take the unit out of remote mode | Operator/Supervisor must be able to transition to front panel operation in the event of an anomaly | Must | MVP | Demonstration / test | Email: RE: EXTERNAL: Santec - AWE Inquiry | Software / Test Eng. | Draft | Saves time on unit going in/out of remote mode constantly if it's an on-demand thing.
FUN-010 | Interface | The application shall display ILM-100 connection status, instrument identity when available, and actionable connection errors. | Operator must know whether the measurement instrument is ready. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-01
FUN-012 | Interface | The application shall support a reference/zero operation for each wavelength before DUT testing. | Insertion-loss measurements require a valid baseline. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft | This should be a required operation before beginning testing. | UC-01
FUN-013 | Interface | The application shall record reference date/time and reference values or instrument acknowledgement in the test session. | Provides evidence that the setup was referenced. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-01
FUN-014 | Interface | The application shall detect invalid, stale, saturated, under-range, or missing ILM-100 readings and shall not record them as valid measurements. | Protects measurement integrity. | Must | MVP | Fault-injection test | User request | Software / Test Eng. | Draft |  | UC-02
FUN-015 | Interface | The application shall discover and connect to the selected OSX unit and display connection status. | Required for automated channel routing. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-01
FUN-016 | Interface | The application shall verify that the connected switch identifies as the unit family selected by the operator, or require an authorized override. | Reduces testing under the wrong product criteria. | Must | R1 | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-01
FUN-017 | Interface | The application shall command the OSX unit to route a specified logical channel and confirm the command completed before measurement. | Ensures the recorded value corresponds to the intended channel. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-02
FUN-018 | Interface | The application shall support configurable USB/serial and Ethernet communication methods when supported by the production hardware. | OSX units are used through multiple communication paths. | Should | R1 | Interface test on each supported transport | User request | Software / Test Eng. | Draft |  | UC-01
FUN-019 | Interface | Communication timeouts, retry counts, and settling delays shall be configurable and logged. | Different hardware/firmware combinations may need controlled timing. | Should | R1 | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-02
FUN-020 | Interface | After a communication loss, the application shall reconnect without discarding completed measurements and shall require confirmation of the current channel before resuming. | Supports recoverable production interruptions. | Should | R1 | Disconnect/reconnect fault test | User request | Software / Test Eng. | Draft |  | UC-02
FUN-021 | Configuration | Product acceptance limits shall be stored in a controlled configuration, not hard-coded in the test workflow. | Specifications may change and differ by product/configuration. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft | Need acceptance for OSX-100 SM, OSX-100 MM, and OSX-150 SM. | UC-01
FUN-022 | Configuration | The selected criteria set shall include product family, applicable channel-count range, wavelengths, warning band, and absolute fail limit. | Supports product-specific and channel-count-specific decisions. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-01
FUN-023 | Configuration | The test record shall capture the criteria-set name and revision used for the run. | Required for reproducibility and auditability. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-05
FUN-024 | Configuration | Only authorized users shall be able to modify or approve production criteria. | Prevents accidental changes to acceptance limits. | Should | R1 | Role/permission test | User request | Software / Test Eng. | Draft |  | UC-06
FUN-025 | Configuration | The application shall support an internally specified optimization band that can be stricter than the published maximum insertion-loss limit. | OSX-150 channels may be replaced even when technically within the absolute limit. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-04
FUN-026 | Configuration | The application shall visually distinguish Pass, Optimization Review, Fail, Untested, and Invalid Measurement states. | Enables quick operator decisions. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-02
FUN-027 | OSX-150 Workflow | For OSX-150, the application shall distinguish logical routed channels from physical switch channels. | A spare physical channel may replace a routed logical channel. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft | Software should have a method to tell the user to "swap these channels with the specified channels". | UC-04
FUN-030 | OSX-150 Workflow | For OSX-150, the application shall rank candidate spare channels using 1310 nm and 1550 nm results while showing the calculation basis. | Supports selecting a lower-loss spare without hiding engineering judgment. | Should | R1 | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-04
FUN-031 | OSX-150 Workflow | For OSX-150, the application shall allow an operator to replace a routed logical channel with a selected spare physical channel and record the old mapping, new mapping, reason, operator, and timestamp. | Creates traceability for rerouting decisions. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-04
FUN-032 | OSX-150 Workflow | After a mapping change, the application shall require the affected logical channel to be retested at both wavelengths before final acceptance. | Confirms final routed performance. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-04
FUN-033 | OSX-150 Workflow | The application shall prevent one physical channel from being assigned to more than one logical channel. | Maintains a valid one-to-one mapping. | Must | MVP | Negative mapping test | User request | Software / Test Eng. | Draft |  | UC-04
FUN-034 | OSX-150 Workflow | The application shall show remaining unassigned spare channels and their latest test status. | Helps production understand optimization capacity. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-04
FUN-035 | OSX-150 Workflow | The final report shall show the final logical-to-physical channel mapping and identify any channels replaced during optimization. | Documents as-built routing. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-05
FUN-036 | OSX-150 Workflow | The application shall retain pre-optimization and post-optimization measurements in the session record. | Supports process learning and auditability. | Should | R1 | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-04
FUN-037 | Reporting | The application shall populate a user-selected .xlsx report template without requiring manual copy/paste of measurement data. | Primary requested output. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-05
FUN-038 | Reporting | The report-template mapping shall be configurable for metadata fields and measurement-table columns. | Allows future approved templates without rewriting the application. | Must | R1 | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-06
FUN-039 | Reporting | The application shall populate at minimum part number, serial number, test date/time, tested by, product family, channel count, criteria revision, equipment identification, 1310 nm IL, 1550 nm IL, and final disposition. | Matches existing report content and adds traceability. | Must | MVP | Demonstration / test | TR-OSX-100_OSX-100 Test Report Template.xlsx | Software / Test Eng. | Draft |  | UC-05
FUN-040 | Reporting | The application shall add or populate enough report rows for the tested channel count while preserving approved template formatting, formulas, merged cells, and print area where practical. | Existing process manually adds/removes rows to match channel count. | Must | MVP | Demonstration / test | Email: Another one! | Software / Test Eng. | Draft |  | UC-05
FUN-041 | Reporting | The application shall save the raw session data separately from the formatted customer/production report. | Preserves complete retest and error history even if the report only shows final values. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft | This log contains the full test data for the switch, while the report is just the routed channels that would be provided to customer. | UC-05
FUN-042 | Reporting | The application shall support report preview before final save. | Lets the operator catch metadata/template issues. | Should | R1 | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-05
FUN-043 | Reporting | The application shall use a configurable naming convention and shall prevent silent overwrite of an existing report. | Prevents record loss and supports document control. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-05
FUN-044 | Reporting | The application shall optionally export the finalized report to PDF using the approved naming convention. | Existing work instruction saves the report as PDF for upload. | Should | R1 | Demonstration / test | Email: Another one! | Software / Test Eng. | Draft |  | UC-05
FUN-045 | Reporting | The report shall clearly identify retested channels and show only the approved final result in the primary results table, with history available in an audit sheet or raw data file. | Balances production readability and traceability. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-05
FUN-046 | Data Integrity | Each recorded measurement shall include session ID, product identity, logical channel, physical channel, wavelength, value, units, timestamp, attempt number, instrument identity, and validity state. | Minimum traceable measurement record. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft | This would be in the data log file, not the test report. | UC-02
FUN-047 | Data Integrity | The application shall autosave session progress after each completed channel or retest. | Limits data loss during interruption. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-02
FUN-048 | Data Integrity | The application shall maintain an append-only audit trail for connection events, references, measurements, retests, mapping changes, overrides, errors, and report generation. | Needed for production troubleshooting and quality review. | Must | R1 | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-06
FUN-050 | Data Integrity | The application shall validate required metadata and file paths before starting and before finalizing a report. | Prevents incomplete records. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-01
FUN-051 | Usability | The main run screen shall show current unit, connected instruments, reference status, active channel, wavelength, latest measurement, progress, and pass/review/fail state. | Production operators need a single clear status view. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-02
FUN-052 | Usability | Normal operator actions shall be available without editing configuration files or source code. | Production application requirement. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-02
FUN-053 | Usability | Errors shall identify the affected device or channel and provide a corrective action when known. | Reduces troubleshooting time. | Must | MVP | Usability review and fault tests | User request | Software / Test Eng. | Draft |  | UC-02
FUN-054 | Usability | The application shall require confirmation before clearing a session, changing unit family after testing has begun, or overwriting an active result selection. | Prevents accidental data loss or criteria changes. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-02
FUN-055 | Reliability | The application shall start in a safe state with no switch movement or measurement commands issued until connections and test configuration are confirmed. | Avoids unintended hardware action. | Must | MVP | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-01
FUN-056 | Reliability | The application shall continue to function when report export temporarily fails and shall preserve the completed session for later export. | Report path/Excel issues must not destroy measurements. | Must | MVP | File-lock and unavailable-path test | User request | Software / Test Eng. | Draft |  | UC-05
FUN-057 | Reliability | Unexpected application termination shall be recoverable from the last autosaved session without duplicating completed measurements. | Production resilience. | Must | R1 | Forced-termination recovery test | User request | Software / Test Eng. | Draft |  | UC-02
FUN-058 | Security | Operator identity shall be captured from login or entered before testing; overrides and criteria edits shall require an authorized role. | Supports accountability. | Must | R1 | Demonstration / test | User request | Software / Test Eng. | Draft |  | UC-06
FUN-059 | Maintainability | Instrument commands, timeouts, criteria sets, template mappings, and file-naming rules shall be isolated in version-controlled configuration modules. | Reduces risk when hardware or process details change. | Should | R1 | Design review | User request | Software / Test Eng. | Draft |  | UC-06
FUN-060 | Maintainability | The application shall generate diagnostic logs suitable for engineering support without exposing confidential credentials. | Supports troubleshooting of production failures. | Should | R1 | Log review and security review | User request | Software / Test Eng. | Draft |  | UC-06

## Use Cases
Production Workflow and Use Cases
Use Case | Name | Primary Actor | Preconditions | Main Flow | Alternate / Exception Flow | Postconditions | Mapped Requirements
UC-01 | Configure Test Session | Production operator | Application open; approved criteria and template available | 1. Select OSX-100 or OSX-150. 2. Enter PN, SN, routed channel count, operator, and report template. 3. Connect ILM-100 and OSX. 4. Confirm criteria revision. 5. Reference both wavelengths. | Wrong unit type, failed connection, invalid metadata, or reference failure blocks start. | Ready-to-test session with unique ID and saved configuration. | Functional, Interface, Configuration, Data Integrity
UC-02 | Run Full Channel Test | Production operator | UC-01 complete | For each planned channel: route channel, confirm command, select wavelength, settle, read IL, validate value, save result, evaluate disposition, repeat for both wavelengths. | Pause/abort; communication retry; invalid reading; manual correction only through controlled retest. | All planned channels have valid two-wavelength dispositions. | Functional, Interface, Data Integrity, Usability
UC-03 | Retest Selected Channels | Production operator | At least one channel has a measurement | Select one or more channels, provide optional reason, rerun both wavelengths, compare attempts, approve final active result. | If result remains invalid/out of band, retain channel in review/fail state. | Retest history retained and final result designated. | FUN-005, FUN-006, Reporting
UC-04 | Optimize OSX-150 Mapping | Operator with engineering approval as required | OSX-150 selected; routed and spare physical channels defined | Measure candidate spares, review ranked results, select spare, remap logical channel, record reason, and retest final route at both wavelengths. | No acceptable spare available; revert mapping; engineering disposition required. | Final one-to-one mapping and final IL results are saved. | OSX-150 Workflow
UC-05 | Generate Final Report | Production operator | Required channels complete; metadata valid | Preview, populate approved .xlsx template, save raw session data, save final report, optionally export PDF. | File locked, path unavailable, template mismatch, or incomplete results prevents finalization without losing session. | Controlled report and session data saved with audit event. | Reporting, Data Integrity
UC-06 | Administer Controlled Configuration | Authorized engineer/admin | Authorized role | Create/revise criteria, instrument settings, template mapping, and naming rules; validate; approve; release revision. | Rejected validation returns configuration to draft. | Versioned production configuration is available and auditable. | Configuration, Security, Maintainability

## Config Model
Proposed Controlled Configuration Model
Config Area | Field | Example / Placeholder | Required | Editable By | Validation Rule | Change Control | Used In | Notes
Product criteria | Product family | OSX-100 / OSX-150 | Yes | Authorized engineer | Enumerated value | Revision controlled | Test setup, evaluation, report | Do not hard-code limits in workflow.
Product criteria | Criteria revision | TBD | Yes | Authorized engineer | Unique revision | Approval required | Session record, report | Provide effective/release date if desired.
Product criteria | Channel-count applicability | Min / max or exact ranges | Yes | Authorized engineer | No overlapping active ranges | Approval required | Criteria selection | Needed if limits vary by channel count.
Product criteria | 1310 nm warning band | TBD dB | Yes | Authorized engineer | <= fail limit | Approval required | Optimization review | Internal target, especially for OSX-150.
Product criteria | 1550 nm warning band | TBD dB | Yes | Authorized engineer | <= fail limit | Approval required | Optimization review | Internal target, especially for OSX-150.
Product criteria | 1310 nm fail limit | TBD dB | Yes | Authorized engineer | Numeric, nonnegative | Approval required | Pass/fail | Confirm approved value per product/configuration.
Product criteria | 1550 nm fail limit | TBD dB | Yes | Authorized engineer | Numeric, nonnegative | Approval required | Pass/fail | Confirm approved value per product/configuration.
Measurement | Settling delay | TBD ms | Yes | Engineer/admin | Bounded positive integer | Logged change | Measurement sequence | Establish using instrument behavior.
Measurement | Samples / averaging | TBD | Yes | Engineer/admin | Positive integer | Logged change | Measurement sequence | Define whether ILM returns averaged result.
Communication | ILM interface | COM / Ethernet / driver | Yes | Engineer/admin | Supported transport | Logged change | Connection | Validate approved production setup.
Communication | OSX interface | USB/serial / Ethernet | Yes | Engineer/admin | Supported transport | Logged change | Connection | May depend on product firmware.
Reporting | Template path | Approved .xlsx file | Yes | Engineer/admin | File exists; required named ranges/cells found | Approval required | Report export | Prefer named ranges or mapping sheet.
Reporting | Filename pattern | {PN}-{SN}-Test Report-{Date} | Yes | Engineer/admin | Valid path characters | Approval required | Report export | Existing procedure uses a similar pattern.
Permissions | Roles | Operator / Engineer / Admin | Yes | Admin | Defined least-privilege matrix | Approval required | Overrides and configuration | Integrate with Windows login if practical.

## Open Decisions
Open Decisions and Acceptance Inputs
Decision ID | Topic | Decision Needed | Why It Matters | Suggested Owner | Target Release | Status | Current Assumption | Final Decision | Evidence / Approval
OD-001 | OSX-100 limits | Approve 1310 and 1550 absolute IL limits for each applicable configuration/channel range. | Required for automated pass/fail. | Product / Test Engineering | MVP | Open | Do not rely on a single fixed value until approved; existing template examples show product-specific limits.
OD-002 | OSX-150 limits | Approve wavelength- and channel-count-specific absolute limits. | OSX-150 report examples and production discussions show different expectations. | Product / Test Engineering | MVP | Open | Use controlled configuration placeholders.
OD-003 | Optimization band | Define internal warning/optimization band for OSX-150 and whether operator or engineer approval is needed above it. | Determines when routed channels should be replaced by spares. | Test Engineering / Production | MVP | Open | Support a band stricter than the absolute fail limit.
OD-004 | Spare ranking method | Choose ranking method: worst-of-two wavelengths, average, weighted score, or explicit per-wavelength thresholds. | Affects recommended replacement channel. | Test Engineering | R1 | Open | Show raw values and calculation; user retains final choice.
OD-005 | Final result selection | Define whether latest valid retest automatically becomes final or requires explicit approval. | Controls data traceability and operator workflow. | Quality / Test Engineering | MVP | Open | Require explicit final selection when multiple valid attempts exist.
OD-006 | Reference procedure | Define exact ILM-100 reference sequence, allowable age, and re-reference triggers. | Core measurement validity. | Metrology / Test Engineering | MVP | Open | Reference both wavelengths at session start; repeat after setup disturbance.
OD-007 | OSX transport | Confirm approved connection method(s) and command/API documentation for OSX-100 and OSX-150. | Needed for robust device control. | Software / Firmware Engineering | MVP | Open | Support production-standard interface first; add second transport in R1.
OD-008 | Report template mapping | Choose named ranges, fixed cells, or a dedicated mapping worksheet. | Determines template flexibility and formatting preservation. | Software / Quality | MVP | Open | Use named ranges plus a table anchor where practical.
OD-009 | Raw data format | Select JSON, SQLite, CSV package, or workbook audit sheet for complete session data. | Needed for retest history and recovery. | Software / Quality | MVP | Open | Use a structured local session file independent of the final report.
OD-010 | Authorization | Define roles allowed to override unit mismatch, incomplete test, or criteria warnings. | Prevents uncontrolled production dispositions. | Quality / Management | R1 | Open | Operators may retest; engineers/admins control overrides and criteria.
OD-011 | Deployment environment | Confirm Windows version, installer method, update process, and offline/network constraints. | Required for production support and validation. | IT / Software | MVP | Open | Assume Windows production PCs and offline-capable operation.
OD-012 | Acceptance dataset | Select representative OSX-100/150 units and simulated fault cases for UAT. | Establishes completion evidence. | Test Engineering / Quality | MVP | Open | Include low/high channel counts, spare remap, retest, disconnect, and template failure cases.

## UAT Acceptance
User Acceptance Test Outline
Test ID | Scenario | Preconditions / Data | Test Steps | Expected Result | Mapped Req IDs | Priority | Tester | Date | Result | Evidence / Defect
UAT-001 | Create OSX-100 session with arbitrary channel count | Approved OSX-100 criteria; ILM and switch available | Select OSX-100; enter 2 channels; connect; reference; start. | Session starts only after required metadata/connections/reference are valid; channel plan contains 1–2. | FUN-001 to FUN-003; INT-001 to INT-009 | Must
UAT-002 | Run complete two-wavelength test | Valid session with known-good 2+ channel switch | Run all channels. | Each channel has valid 1310/1550 readings, timestamps, attempts, and disposition. | FUN-004, FUN-007, FUN-008; DAT requirements | Must
UAT-003 | Retest selected channel | Completed channel with initial result | Select one channel; retest; choose final result. | History preserves both attempts and clearly marks final value. | FUN-005, FUN-006; REP-009 | Must
UAT-004 | OSX-150 spare optimization | OSX-150 session with routed and spare physical channels | Measure routed channel and spares; replace logical mapping; retest. | One-to-one mapping enforced; old/new mapping and reason logged; final report shows final mapping. | OSX-150 Workflow requirements | Must
UAT-005 | Instrument disconnect recovery | Partially completed test | Disconnect ILM or OSX during run; reconnect. | No invalid result is saved; completed data remains; software confirms channel before resume. | INT-006, INT-012; REL recovery | Must
UAT-006 | Generate variable-length Excel report | Completed sessions with 2 and high-N channel counts | Generate report from approved template. | Rows match channel count; formatting retained; metadata/values correct; no silent overwrite. | Reporting requirements | Must
UAT-007 | Incomplete test finalization | One required channel untested | Attempt final report. | Finalization blocked unless authorized override with reason. | FUN-010; Security | Must
UAT-008 | Criteria revision traceability | Two approved criteria revisions | Run sessions using each revision. | Each session/report retains exact criteria-set name and revision. | Configuration requirements | Must
UAT-009 | Crash recovery | Partially completed multi-channel run | Force-close application; reopen. | Last autosaved session recovers without lost or duplicated valid measurements. | DAT autosave; Reliability | Should
UAT-010 | Template/path failure | Completed session; locked template or unavailable output path | Attempt report export. | Clear error shown; session preserved; later export succeeds. | Reporting / Reliability | Must

## Glossary
Glossary and Data Definitions
Term | Definition | Type | Source / Owner | Notes
Logical channel | Customer-facing/output channel number in the finished OSX unit. | Data definition | Test Engineering | May map to a different physical channel in OSX-150.
Physical channel | Actual switch-module port/channel used by the hardware. | Data definition | Engineering | Must be unique within a final mapping.
Spare channel | Available physical channel not currently assigned to a routed logical output. | Process term | Production / Test Engineering | May be loose or reserved for replacement.
Optimization band | Internal IL target used to trigger review/replacement before the absolute specification limit is exceeded. | Acceptance term | Product / Test Engineering | Exact values are open decisions.
Absolute fail limit | Maximum allowed IL at a wavelength for the applicable product/configuration. | Acceptance term | Product Engineering | Store in revision-controlled criteria.
Retest attempt | Additional measurement set for a channel after the initial attempt. | Data definition | Quality / Test Engineering | Never delete earlier attempts.
Active/final result | Approved attempt used for final channel disposition and primary report table. | Data definition | Quality | History remains available.
Reference | Baseline measurement/operation used by the ILM-100 to calculate insertion loss. | Measurement term | Metrology | Procedure and validity window must be approved.
ILM-100 | Insertion Loss Meter used to measure at 1310 nm and 1550 nm. | Instrument | Santec | Communication uses legacy OP815-generation commands according to internal correspondence.
OSX-100 / OSX-150 | Optical switch product families under test. | DUT | Santec | Different acceptance criteria; OSX-150 includes optimization workflow.